## Slide 1: Gain switching for ~100-ps pulse (CAN LD and DBR-LD from Thorlabs)
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 2
Spectrometer
HS-Osc. Scope
ATT
Fiber
CAN
LD
ATT
Amp
PG
Setup
Bias-T used
No impedance matching parts
Maximum pump amplitude after Amp.: ~37V
Focusing on single GS peak from LD
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 3
CAN-LD: cw off, high pump amplitude, width variation
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 4
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 5
Chart: CAN-LD
| 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 60
 | 6.9e-09 | 2.5e-08 | 5.9e-08 | 1.14e-07 | 2.08e-07 | 3.76e-07 | 6.89e-07 | 1.295e-06 | 2.54e-06 | 2.2e-05 | 0.000132 | 0.000232 | 0.000348 | 0.00045 | 0.00057 | 0.00067 | 0.00077 | 0.00088 | 0.00099 | 0.00109 | 0.001204 | 0.001312 | 0.00142 | 0.00152 | 0.00162 | 0.00216
CAN-LD: cw variation, high pump amplitude, width 0.5ns
Akiyama Lab meeting (2018/08/01 Tao)

## Slide 6
CAN-LD: cw @threshold, high pump amplitude, width 0.5ns
Hints for sub-ns pulse generation (vs simulation)?
Main pump
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 7: DBR-Pigtailed LD
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 8
DBR-LD: cw off, pump ampl. variation, width 2.5ns
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 9
DBR-LD: cw off, pump ampl. max, width variation
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 10
DBR-LD: cw low, pump ampl. max, width 0.5ns
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 11
Akiyama Lab meeting (2018/08/01 Tao)
Hints for sub-ns pulse generation (vs simulation)?
Pre-pump
Main pump
DBR-LD: cw high, pump ampl. max, width 0.5ns

## Slide 12: FP-Pigtailed LD
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 13
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 14
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 15
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 16
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 17: Data of the QD LD
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 18
Akiyama Lab meeting (2018/08/09 Tao)

## Slide 19
Akiyama Lab meeting (2018/08/09 Tao)